| EUSWSD4L Investigate system performance using flow and pressure equipment LEGACY |  |
| --- | --- |

Overview

This Standard is about investigating system performance by fitting gauges and recorders (including data loggers) to measure flow and pressure and collecting and evaluating the data recorded. This could be on the distribution network or in customers’ properties,

This involves determining the nature and scope of an investigation, using data measuring equipment and collecting and evaluating data.

This Standard is for anyone who investigates system performance using flow and pressure equipment on the water distribution network or in customers’ properties.

Performance criteria

You must be able to:

- identify information regarding system performance from reliable sources

- determine the nature and scope of an investigation that is supported by identified information

- determine investigation methods that are appropriate for the nature and scope of the required investigation

- inform relevant people of the investigation details

- select equipment that is appropriate for the investigation to be carried out

- confirm that equipment is in working order and is safe to use

- confirm that equipment is calibrated in accordance with manufacturers' specifications

- select appropriate test points to apply equipment

- apply equipment and confirm operation in line with manufacturers' specifications

- take relevant action in line with organisational procedures when you identify problems with equipment or in applying it

- remove equipment on completion of investigations in line with health and safety requirements

- return equipment in a suitable condition to its identified storage location

- follow safe working and hygiene practices in accordance with relevant procedures, regulatory and statutory requirements

- identify data collection requirements from specified recording equipment

- collect accurate data in accordance with organisational requirements

- record abnormal results and equipment malfunctions in line with organisational procedures

- evaluate data to ensure that it meets investigation needs

- determine appropriate recommendations that are supported by the data

- provide the results and any recommendations to appropriate people

Knowledge and understanding

You need to know and understand:

- methods of measuring system performance and the purpose of doing so

- the purposes of investigations and how to carry them out

- the purposes of recording, and the uses of data in the management and operation of distribution systems

- data collection methods and collation techniques for different types of recording equipment

- how to use different types of equipment

- what is covered by manufacturer's specifications

- what constitutes an equipment malfunction and the effects of faulty equipment

- factors that can affect the accuracy of equipment, and the importance of accurate results

- typical and unusual equipment and application problems and your responsibility for resolving them

- what constitutes a suitable condition for equipment

- equipment storage requirements

- information sources and how to use them

- how to interpret information

- how to identify abnormal results, and recording procedures for this

- what to consider when selecting a test point and the implications of using inappropriate test points

- safety and hygiene practices and related regulatory and statutory requirements relating to the use of tools and equipment, working in the public highway and personal hygiene

- how contamination might be caused and the dangers this might pose

- the types of recommendations which different results indicate

- information that needs to be provided

- who to inform about the investigations and who requires the results

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2021

Validity

Legacy

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

EUSDCO8

Relevant Occupations

Engineer, Water Network Technician, Water Network Controller

Suite

Drinking Water Supply Distribution

Keywords

Calibrated, analyse, investigate, water, flow,supply