| EUSLDC5L Use leakage detection techniques to identify the location of water loss LEGACY |  |
| --- | --- |

Overview

This Standard is about using leakage detection techniques to identify the location of water loss on the distribution network.  Leakage detection techniques can include, but are not restricted to, acoustic, flow and pressure, step testing and visual. It includes selecting suitable single or combinations of leakage detection methods, setting up and configuring leakage detection equipment and using the results to identify leakage location. You will need to be able to prioritise the urgency of leakage situations, record information and make sure the relevant people, including customers, are provided with updates.  Health, safety and hygiene procedures should be followed at all times.

This Standard is for anyone who uses appropriate leakage detection techniques to identify the location of water loss on the distribution network.

Performance criteria

You must be able to:

- obtain and analyse current information from existing records and data

- select leakage detection methods that are appropriate for the condition and type of distribution infrastructure and its current characteristics

- select methods and techniques that comply with health, safety and environmental considerations whilst minimising effects on water supply, water quality and customers

- specify, and sequence, the extent and combination of leakage detection methods and techniques which will produce the most effective leakage detection activity

- use information from reliable sources to determine equipment and resource requirements, availability and cost effectiveness

- establish contingency plans in line with organisational procedures for situations where potential problems might occur

- confirm notification procedures are put in place in accordance with organisational requirements

- make sure those affected by testing are informed of the time and duration of tests and their effect on water supply before they start

- check equipment for leak detection is in working order and safe to use

- use relevant equipment for final pinpointing before marking up leak position

- connect, set up and configure equipment in line with manufacturers’ instructions

- use results to identify and verify accurate location of leakage

- dismantle, clean and return equipment to storage in accordance with organisational requirements

- mark the position of leakage in accordance with organisational requirements

- record and report the position of leakage, including any local environmental or traffic conditions, in accordance with organisational requirements

- determine and advise on urgency and acceptable timescales for dealing with identified water loss in compliance with quantity, rate of water loss and organisational service standards

- determine the options for disruption to supply and potential extent of disruption that is necessary to deal with identified water loss situations

- report relevant details to appropriate people about detection methods and the need for any further investigation

- follow safe working and hygiene processes in accordance with approved procedures and practices

Knowledge and understanding

You need to know and understand:

- regulations, company procedures and processes relating to health, safety,  environment and emergencies

- leakage detection methods and techniques, their limitations and capabilities for different types of pipe in linear and non-linear configurations

- how leakage detection methods can be sequenced and combined

- how to determine the suitability of leakage detection methods for different circumstances

- the benefits of using noise suppression and when it is appropriate

- the purpose of using a velocity check in the event of material variations

- the relevance of condition and type of distribution infrastructure to leakage detection methods and techniques

- how to access and interpret existing records and data relating to network infrastructure and assets, customers, effect on water quality, environmental details relating to traffic & noise levels, trends from historic data

- how to analyse trend information to determine potential impact of leakage detection techniques

- how to assess information about customers, traffic, resources and the environment

- how to determine the urgency of a water loss situation and who to advise

- how to determine supply disruption details

- how to determine equipment and resource requirements, availability and cost effectiveness

- how to determine potential effects on water supply, water quality and customers

- how to set up and calibrate equipment including that for final pinpointing of leaks

- the implications of pipework configuration on test results

- relevant health, safety and environmental regulations

- organisational record keeping requirements with relation to leakage detection

- organisational service standards for leakage activities

- who to inform about problems and organisational procedures for doing so

- how to Identify those who may be affected by testing activities

- organisational notification procedures

- organisational contact policies for those affected by testing activities

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2021

Validity

Legacy

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

EUSLDC4

Relevant Occupations

Engineering, Water Network Technician, Water Leakage Detection Technician

Suite

Leakage Detection and Control, Drinking Water Supply Distribution

Keywords

leakage detection, water loss, detection techniques