| EUSWNC9L Install engineering products or assets for water network construction LEGACY |  |
| --- | --- |

Overview

This Standard is about installing engineering products or assets for water network construction.  This includes interpreting technical specifications, selecting components and installation methods, assembling and installing components to accepted standards.

This Standard is for water network construction operatives who install engineering products or assets.

Performance criteria

You must be able to:

- obtain relevant information from current drawings, records, work documents, manuals, and technical specifications

- identify dimensions, lengths, widths, and quantities in line with Technical information

- identify positions of utilities plant, services, buildings, kerbs and boundaries in line with technical information

- select components appropriate for installation in compliance with work and quality specifications

- identify and replace defective components, non-match components, and sub-standard components in line with organisational procedures

- ensure sufficient labour, plant, equipment, materials and consumables are available for installation

- deal with actual and predicted changes to planned use of resources in line with organisational procedures

- make sure installation equipment operates as required

- determine installation methods to be used that are appropriate to the work

- carry out and review site-specific risk assessments in accordance with organisational policy

- select and wear designated personal protective equipment (PPE)

- make sure the condition of excavations conforms with instructions and specifications

- select, prepare and operate installation equipment in accordance with the specification and manufacturer’s instructions

- position components in accordance with specifications taking adequate precautions to prevent damage to them

- assemble components to industry standards using appropriate techniques,

- protect installed assets with fine fill in accordance with specification and codes of practice

- maintain proximity distances from other utilities apparatus in accordance with approved codes of practice

- ensure installed assets are supported and anchored in accordance with codes of practice

- connect to existing system using in-line squeeze off, side entry or top entry tee, in accordance with codes of practice.

- check quality of installations comply with quality and hygiene standards

- follow organisational procedures to maintain the security and safety of systems and other people at all times

- provide technical information to people who require it in line with organisational processes, confirming that they have understood it

- complete required work documentation in line with organizational requirements

- work on ‘permit to work’ designated activities in line with organisational procedures

- refer problems and conditions outside your responsibility to appropriate people using approved procedures

Knowledge and understanding

You need to know and understand:

- the importance of carrying out on-site risk assessments and the need for constant review

- the importance of understanding and implementing a safe system of work (SSOW) document when working in excavations

- organisations policy and procedures for meeting relevant statutory requirements, regulations, codes of practice

- factors affecting, and means of confirming, the suitability of excavations

- potential dangers in trenches and holes

- relevant health, safety and environment legislation, procedures and codes of practice including those governing work in excavations, lone working, hazardous materials, accidents and personal protective equipment (PPE), confined space, working at height

- dangers of taking actions that create confined spaces risks in excavations

- installation methods and when they should be used including mains bursting, dead insertion, live insertion, soil displacement, directional drilling, open cut

- the implications of using incorrect plant, tools, materials and system components

- actions to be taken where plant, tools, materials and system components fail to meet required specification

- faults associated with use of inappropriate installation methods and tools

- range of isolation methods available and rationale for selection

- the procedure for obtaining authorisation to proceed with connections and the implications of not obtaining it

- the importance of obtaining necessary permissions for isolation of any part of utilities network

- range of actions to be taken if work cannot proceed to schedule

- means of determining appropriate safe remedial action if work cannot proceed

- methods of accessing information obtainable from reference documents, regulations, codes of practice

- organisational policy and procedures for meeting relevant statutory requirements, regulations, codes of practice

- types and signs of defect likely to be present on sub-system and means of determining correct and safe action

- the importance of compliance with current industry standards

- mechanical and fusion welding techniques

- how to provide clear technical information and check understanding

- communication methods and procedures appropriate for how information will be used

- how to identify problems that are outside of your responsibility including inaccuracies in technical information sources, damage or defects to tools, equipment or materials, work which is incomplete and not to schedule

- who to report information to and when

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2021

Validity

Legacy

Status

Original

Originating Organisation

Energy and Utility Skills

Original URN

EUSNCO212

Relevant Occupations

Engineering, Water Network Construction Operative, Water Network Construction Supervisor

Suite

Water Network Construction Operations

Keywords

utility, utilities, network, construction, water