| EUSICG2 Plan and prepare to work on gas systems, installations and components for industrial and commercial properties and leisure accommodation |  |
| --- | --- |

Overview

This standard is about planning and preparing to work on gas systems, installations and components for industrial or commercial properties or leisure accommodation.  It is for the non-residential part of the downstream gas industry.  It can apply to gas systems, installations and components for any type of fuel gas or combinations of fuel gas.

It includes producing risk assessment and safe systems of work, producing project plans, checking that all systems and components will be compatible and liaising with clients.

This standard is for those planning work on gas systems in non-residential downstream, industrial or commercial properties or leisure accommodation.

Performance criteria

You must be able to:

1. confirm that proposed work activities meet all statutory, industry and manufacturers standards

2. produce risk assessments and safe systems of work which incorporate safety provisions for the work

3. access and use current pre-prepared or generic risk- assessments and safe systems of work when they are available

4. survey work sites for any pre-installation damage or defects to existing building features

5. record any defects found in agreed recording systems and advise responsible person

6. check and confirm all materials, tools and equipment necessary for specified works are available as required and are fit for purpose

7. confirm that new or existing fuel gas services are available and suitable

8. confirm and verify that proposed gas systems, installations and components will not conflict with other existing or proposed electrical, water or ventilation systems

9. produce plans that take account of work and safety requirements

10. check that planned work will comply with legislation, industry standards and manufacturers’ instructions

11. plan to reduce waste, safely dispose of it, or where appropriate re-cycle waste materials from work activities

12. confirm with responsible person that they agree plans before jobs start

13. protect work sites and building fabric against possible damage being caused during specified works

14. identify and take appropriate action to deal with any unsafe appliances or system components in existing installations

15. liaise with responsible person and other people who will be affected by work activities to minimise disruption

Knowledge and understanding

You need to know and understand:

1. regulations and guidance governing health and safety in the workplace, environmental protection and the use of risk assessments

2. legislation covering the general responsibilities of the operative for their own safety and that of others

3. sources of information relevant to the work and how to access them including statutory and normative documents, industry standards, guidance documents and manufacturers’ instructions

4.

‍ t

he health, safety and environmental factors which need to be incorporated in the risk assessment process

5. aspects of the work that need to be included in risk assessments and safe systems of work including work sites, access work sites, movement of workforce, members of the public and movement and storage of materials, tools and equipment

6. key factors and considerations included in the planning and preparing process

7. aspects of project planning including duration of tasks , dependencies and deadlines

8. tools, equipment, materials and components required for the proposed work activities on gas systems, installations and components

9. tools and equipment necessary to work safely at height or in restricted or confined spaces

10. care, maintenance requirements and checks for safe condition of tools and equipment

11. construction materials and methods for installation of gas systems, installations and components

12. how to purchase and obtain materials and components including availability, advising, checking and delivery procedures

13. the range and operation of gas systems, installations and components

14. how to secure and store tools, equipment, materials and components to minimise loss or wastage

15. methods of working which protect building décor, customer property and existing systems and components

16. how to confirm the suitability and availability of new or existing gas input services

17. the implications on work of new or existing dual fuel gas systems

18. sources of information about other electrical, water or ventilation systems that may have an impact on gas system, installations and components including electricity, water, waste water, ventilation, flue/extraction systems and fresh air systems

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

30 Mar 2020

Indicative Review Date

30 Mar 2025

Validity

Current

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

EUSICG2

Relevant Occupations

Building and Civil Engineering Technicians, Design and Development Engineers, Electrical Engineer, Engineering Professionals, Engineering Technicians, Heating and Ventilating Engineer, Mechanical Engineer, Plumbers, Planning and Quality Control Engineers

Suite

Industrial and Commercial Gas Utilisation

Keywords

Plan; prepare; gas; systems; installations; components; industrial; commercial; leisure accommodation;  non-residential; downstream; risk assessment; safe systems of work; project plan; compatible; client liaison;