| EUSSM2L Use equipment to monitor sewerage network LEGACY |  |
| --- | --- |

Overview

This Standard is about monitoring sewerage networks with equipment. Equipment could include, but is not restricted to, monitors, sensors, drones, CCTV or tracing equipment. It includes making sure the equipment is working properly and is adjusted for best performance, using the equipment in line with instructions and interpreting and reporting findings. This Standard is for anyone who needs to monitor sewerage networks.

Performance criteria

You must be able to:

"1. ensure equipment is working properly in accordance with

approved procedures and practices

2. adjust controls to get the best performance from equipment

3. investigate any faults in performance and report them to

appropriate people

4. organise your work area so that you can work in an efficient and

safe manner

5. use equipment in line with operating instructions and in

accordance with approved procedures and practices

6. use equipment in line with health, safety and environmental

procedures

7. recognise activities or incidents that should be reported without

delay in accordance with approved procedures and practices

8. control and use equipment to its full operational ability.

9. interpret and report findings to appropriate people

10. identify problems outside the scope of your job and report them to

appropriate people

11. record work activities in accordance with relevant company

procedures.

12. complete required records with legible and complete information

within required timescales"

Knowledge and understanding

You need to know and understand:

"1. regulatory and company procedures relevant to sewerage

maintenance including those relating to health, safety and the

environment

2. the capabilities and limitations of monitoring equipment including

monitors, sensors, drones, CCTV, tracing equipment

3. how to adjust, prepare and use equipment to get its best

4. current legislation, regulations and codes of practice relating to

using monitoring equipment

5. the operational instructions and procedures you should follow

when preparing and using monitoring equipment

6. how to confirm that equipment is working and what to do if it is not

7. the terminology associated with equipment usage health and

safety guidance relating to the use of monitoring equipment

8. the risks associated with confined spaces and the associated

procedures.

9. records that you need to make of: incidents, equipment, duties

and access

10. your responsibilities in relation to interpreting and reporting

findings

11. who to report to and when it is appropriate.

12. how to maintain effective and efficient working relationships with

others"

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2020

Validity

Legacy

Status

Original

Originating Organisation

Energy and Utility Skills

Original URN

eussm3

Relevant Occupations

Engineering, Sewer Maintenance Worker, Field Technician

Suite

Sewerage Maintenance

Keywords

Sewerage; Asset; Maintainence