| COSVR725 Supervise the installation, maintenance, monitoring and removal of temporary works |  |
| --- | --- |

Overview

This standard is about supervising the installation, maintenance, monitoring and removal of temporary works, that are consistent with site requirements, and adopting safe, healthy and environmentally responsible work practices in accordance with current organisational requirements which are equal to or exceed current statutory and legislative requirements.

This standard is for people working in the occupational area of construction site supervision which is defined as the supervision of multiple construction trades and disciplines and can be used by operatives, supervisors and managers

Performance criteria

You must be able to:

P1    interpret and confirm the relevance of the following

information in relation to the supervision of installing,

maintaining and removing temporary works:

1.1    drawings

1.2    check certificates

1.3    hold points

1.4    permits to work

1.5    specifications

1.6    schedules

1.7    method statements

1.8    risk assessments

1.9    manufacturers' information

P2    observe current legislation and official guidance to the work

environment to ensure protection and safety of the workforce, the

general public, visitors and the environment by the application of

information relating to at least three of the following:

2.1    methods of work

2.2    risk assessment

2.3    safe use and storage of tools

2.4    safe use of access materials

2.5    traffic management

2.6    emergency plans

2.7    fire safety

2.8    hot works

2.9    environmental factors

P3    identify, assess and maintain the following resources for

temporary works

3.1    people

3.2    plant

3.3    equipment or machinery

3.4    materials and components

3.5    sub-contractors

3.6    information

3.7    waste management

3.8    utilities (power, water, lighting)

P4    confirm that all materials, equipment and tooling is correct prior

to installation

P5    supervise the installation of the temporary works in accordance

with the programme of works to meet the needs of organisational

and other stakeholder procedures

P6    keep accurate records of work progress checks, faults, problems,

corrective actions, quantities involved and maintain safe working

methods and practices

P7    handover the temporary works in accordance with organisational

procedures

P8    supervise the removal of the temporary works in accordance with

the programme of works to meet the needs of organisational and

other stakeholder requirements

Knowledge and understanding

You need to know and understand:

Performance Criteria 1

Interpretation of information

K1    how to interpret the given design information relating to the work

and resources to confirm its accuracy, completeness and

relevance to the building type and construction and record and

report issues in relation to the following:

K1.1    drawings

K1.2    check certificates

K1.3    hold points

K1.4    permit to work

K1.5    specifications

K1.6    schedules

K1.7    method statements

K1.8    risk assessments

K1.9    manufacturers' information

K2    the characteristics, uses and limitations of temporary works

including but not limited to

K2.1    pedestrian and vehicular access

K2.2    Earthworks: trenches, excavations, temporary slopes and

stockpiles.

K2.3    Structures: formwork, falsework, propping, façade retention,

needling, shoring, edge protection, scaffolding, temporary

bridges, site hoarding and signage, site fencing,

cofferdams.

K2.4    Equipment/plant foundations:  tower crane bases, supports,

anchors and ties for construction hoists and mast climbing

work platforms, groundworks to provide suitable locations

for plant erection

K2.5    dewatering

K2.6    non-permanent vehicle restraint systems

K2.7    traffic management

K3    how to identify the correct sequence of work for installation,

maintenance and removal of temporary works

K4    how to implement the organisational requirements, to report

inappropriate; drawings, specifications, schedules, method

statements, risk assessments, electronic data, written and

verbal instructions, permits, manufacturers' information, official

guidance associated with installation, maintenance, monitoring and

removal of temporary works

K5    the organisational requirements to solve problems with the

information

K6    why it is important to follow the organisational requirements

Performance Criteria 2

Observe legislation and guidelines

K7    how to comply with relevant, current legislation and official

guidance and how it is applied to install and maintain safe, healthy

and environmentally responsible work practices including:

K7.1    communicate and coordinate with the responsible person

K7.2    methods of work

K7.3    safe use of health and safety control equipment

K7.4    safe use of access equipment

K7.5    safe use, storage and handling of materials, tools and

equipment

K7.6    specific risks to health

K8    why communication and coordination with the responsible person

as denoted by industry standards is required

K9    the organisational requirements for the security of temporary

works

K10  why it is important to follow the correct sequence of work when

installing and removing temporary works installations

Performance Criteria 3

Identify, assess,  maintain and record the acquisition of resources

K11   how to identify, assess and record the acquisition of the following

resources:

K11.1    people

K11.2    plant, equipment or machinery

K11.3    materials and components

K11.4    sub-contractors

K11.5    information

K11.6    work and facilities

K11.7    waste management

K11.8    utilities

K12    how to assess the quality of the resources

K13    how to maintain the resources for work activities

K14    how any problems and defects associated with the resources are

reported

K15    hazards associated with the temporary works materials,

supports, components, fittings and fixings, hand tools, portable

power tools and equipment and methods of installation

K16    project and organisational requirements to obtain a permit to load

from the relevant responsible person as denoted by industry

standards

Performance Criteria 4

Confirm that all materials, equipment and tooling is correct

K17    how to implement organisational procedures, to report

inappropriate; materials, machinery and equipment associated

with the installation, maintenance, monitoring and removal of

temporary works

K18    why to report inappropriate materials, machinery and equipment

associated with installation, maintenance, monitoring and

removal of temporary works

Performance Criteria 5

Maintain and monitor work progress reports

K19    how to keep and maintain accurate records of work progress

by conducting checks of temporary works

K20    why accurate records,  to maintain and  monitor work progress

are needed

K21    how to communicate and suggest corrective actions and changes

to the programme

Performance Criteria 6

Installation of Temporary Works

K22    how the installation of the works  in accordance with the

programme and schedule is to be carried out to meet the needs

of the organisation and other stakeholders

K23    the hazards associated with temporary works materials,

supports, components, fittings, fixings and tooling in relation

to the installation of temporary works

K24   why deadlines should be kept in the installation and removal of

temporary works structures

Performance Criteria 7

Handover the works

K25    why handover of temporary works to the responsible person, as

denoted by organisational procedures, is required

K26    how to identify the responsible person for temporary works

K27    how to obtain certificates of sign-off works from the responsible

person

Performance Criteria 8

Removal of temporary works

K28    how the removal of the works in accordance with the programme

and schedule is to be carried out to meet the needs of the

organisation and other stakeholders

K29    the hazards associated with temporary works materials,

supports, components, fittings, fixings and tooling in relation

to the removal of temporary works

K30    the project and organisational procedures to obtain permission to

remove the temporary works from the responsible person

K31    how to comply with organisational procedures to remove

temporary works

Developed by

Construction Skills

Version Number

1

Date Approved

30 Sept 2020

Indicative Review Date

30 Sept 2025

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

VR725

Relevant Occupations

Building Trades, Construction Supervisor

Suite

Construction Site Supervision

Keywords

Temporary Works; Installation; Maintenance; Removal; Supervise;