| SFHOH31 Design and manufacture obturators |  |
| --- | --- |

Overview

This standard focuses on the design and manufacture, using manual or digital techniques, of obturators. Obturators are designed to replace the roof of the mouth and related areas, up to and including supporting the orbit of the eye. Obturators may include a set of complete or partial dentures within their design and also be used in the rehabilitation of individuals requiring facial prostheses.

The term 'client' is used to mean the member of the oral health care team who has prescribed the custom-made prosthesis.

The individual is the one for whom the custom-made obturator is being made or the parents/guardians/carers where appropriate. Due to the nature of the oral health problems that require the development of obturators, dental technologists will tend to work closely with clients, individuals (or their parents/guardians/carers as appropriate) and other members of the care team in their development. This requires good communication skills with all of the above and other members of the care team alike.

The design and manufacturing process may be carried out in a regulated dental laboratory within a variety of settings.

Users of this standard will need to ensure that practice reflects up to date information, policies and regulations.

Performance criteria

You must be able to:

- communicate with the individual and key people at a pace, in a manner and at a level appropriate to their understanding, preferences and needs

- collate and confirm accuracy of all specification information required for obturator design and manufacture with relevant others

- interpret and analyse information captured of both soft and hard tissues in oral environment using both analogue and digital techniques

- select the necessary components, materials and equipment and confirm that they are fit for purpose

- set up and operate the manufacturing equipment for manual or digital methods in accordance with the specification

- manufacture the obturator using suitable manual or digital techniques adjusting manufacturing processes as necessary.

- monitor the manufacturing process and adjust as required

- devest or retrieve the manufactured product using an appropriate method which releases the item without causing damage

- ensure that the manufactured product matches the specification and make any necessary adjustments

- clean and finish the restoration, prepare and package it safely for dispatch together with instructions for the individual and client

- dispose of waste in accordance with all relevant legislation, guidelines, and workplace procedures

- complete and store all documentation in accordance with relevant legislation, guidelines, and workplace procedures

Knowledge and understanding

You need to know and understand:

- how to communicate with relevant others at a pace, manner and level appropriate to their understanding, preferences and needs

- the importance of applying standard infection control precautions and the potential consequences of poor practice

- the principles, uses, methods, techniques and equipment involved in digital design and manufacturing.

- the range of equipment used in the design and manufacture of dental devices

- the skeletal anatomy, tooth morphology, orofacial musculature including the tongue and temporomandibular joint function and movement

- the physiological and pathological changes associated with the ageing process and trauma related to the oral environment.

- the importance of retention of the periodontal ligament and the changes in proprioception due to loss of periodontal ligament

- the cause of infections of the jaws and their treatment.

- the effects of oral disease on prosthesis and appliance design and function

- oral malignancy and the surgical and medical management of oral malignancy

- the different methods of preoperative device design and manufacture

- the effect of treatments on materials selection, appliance design and function, and manufacturing techniques.

- the benefits and restrictions of immediate tissue replacement in the provision of removable prostheses

- the physical and emotional response including functional needs of the individual in relation to soft tissue and tooth loss in the oral cavity

- the role of obturators in the restoration and maintenance of:

  - tissues

  - tissue support

  - aesthetics

  - phonetics

  - function of occlusion and the temporomandibular joint

- the importance of restoring and maintaining the occlusal vertical dimension

- the use and need for transitional removable prostheses

- the use of resilient liners and tissue conditioners

- the design limitations of large anterior undercuts and pre-existing dental conditions

- the principles of obturator design

- the classification and sub-classification of materials on the basis of chemical composition and internal structure

- the mechanical, physical, thermal, chemical and biological properties of materials

- the purpose of different products used for cast and mould manufacture or digital representation

- the purpose of different types of materials used in the manufacture of restorations

- legal and physical implications of modifying manufacturer products and ensuring quality assurance.

- how to effectively clean and finish the restoration, prepare and package it safely for dispatch together with instructions for the individual and client

- different methods of waste disposal and how to apply these

- the importance of updating documentation and storing individuals records safely and securely

Developed by

Skills for Health

Version Number

4

Date Approved

20 Mar 2025

Indicative Review Date

20 Mar 2030

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHOH31

Relevant Occupations

Associate Professionals and Technical Occupations, Dental Technician

Suite

Dental Technology

Keywords

Obturators, digital