| SFHCHS7 Obtain and test specimens from individuals |  |
| --- | --- |

Overview

This standard covers obtaining specimens, testing some specimens at or near the patient's location, and forwarding some specimens for laboratory investigation.

Collection of blood specimens is not included.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and others in obtaining and testing specimens from individuals

P2. provide support to the individual, ensuring that you respect their rights and wishes relating to their privacy, beliefs and dignity

P3. establish consent and access information on obtaining and testing specimens from individuals

P4. check the required preparations have been completed and stop the procedure if the necessary preparations have not been followed by the individual or staff

P5. provide the necessary and appropriate container for the specimen to the individual

P6. obtain specimens from individuals when they cannot do this themselves, and place the specimens in the appropriate container

P7. ensure specimens are collected in the correct order

P8. label specimens correctly, attach the relevant documentation, place in the relevant biohazard bags, and put them in the correct place for storage, collection or transportation

P9. record any problems in obtaining the specimen to the appropriate member of the team without delay

P10. perform testing using the correct process / analyser according to the specimen being tested

P11. reassure and inform the individual of the results of the tests according to their needs or pass this on to other relevant staff members in accordance with organisational procedures

P12. complete all relevant documentation required for obtaining and testing specimens from individuals

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to obtain and test specimens from individuals

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. the principles, practice and procedures associated with informed consent

K5. why it is essential to check the identity of the individual

K6. the required preparation for individuals prior to the type of specimen collection

K7. the importance of giving clear explanations to individuals to enable them to collect their own specimens when appropriate

K8. the adverse effects that may occur and how to respond to them

K9. the materials and equipment required for collecting the specimen and the types of specimens that you may obtain

K10. the different types of container, transport media and request forms for specimens appropriate to the specimen and planned test procedure

K11. the information that is required to ensure accurate labelling of specimens and the potential hazards and other consequences related to incorrect labelling or dispatch of specimens

K12. how to dispatch the specimen to the laboratory

K13. the tests and investigations that are carried out at or near the patient's location

K14. the implications the results of the tests will have on the individual

K15. escalating concerns

K16. how to complete and safely store all relevant documentation in accordance with organisational requirements in relation to specimen collection

Developed by

Skills for Health

Version Number

4

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHCHS7

Relevant Occupations

Health and Social Care, Health and Social Services Officers, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

Clinical Health Skills

Keywords

urine, faeces, sputum, exudates, saliva, breath, aspirates, semen, skin scraping, unique, identifier, histology, haematology, microbiology, cytology