| SFHCHS130 Perform routine Electrocardiograph (ECG) Procedures |  |
| --- | --- |

Overview

This standard covers performance of recording Electrocardiograph (ECG) at rest and ambulatory Electrocardiograph (ECG) procedures.

It includes connection and disconnection of electrodes and acquisition of data ready for analysis.

The procedures may be performed in a number of care settings such as outpatient departments, ward areas and GP practices.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and/or others in performing routine Electrocardiograph (ECG) Procedures

P2. provide support to the individual and carers and ensure health and safety measures are implemented at all times

P3. ensure infection prevention and control methods and personal protective equipment are used

P4. confirm the individual’s identity, reason for referral and obtain their valid consent before proceeding

P5. identify any additional needs which may affect performance of the test or influence results

P6. ensure the comfort, safety, security and general condition of the individual and yourself throughout the procedure

P7. obtain assistance and advice where alternative arrangements are required

P8. confirm that the individual understands the need for recording signs and symptoms, throughout an electrocardiograph

P9. establish suitability of characteristics and operational parameters of equipment

P10. label documents and recording devices with organisational requirements

P11. inform and instruct the individual on the procedure and requirements for their compliance

P12. encourage the individual to relax and remain immobile during procedure where the electrocardiograph is performed at rest

P13. prepare sites and position electrodes to optimise results, taking account of additional needs identified

P14. test and run monitoring device and check quality of output

P15. inform the individual of next action

P16. complete all relevant documentation required for performing routine Electrocardiograph (ECG) Procedures

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to perform routine Electrocardiograph (ECG) Procedures

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. the principles, practice and procedures associated with informed consent

K5. the needs of individuals and carers including issues relating to dignity, confidentiality, and privacy

K6. the importance of applying standard infection control precautions to the performing of routine electrocardiographs of competence and the potential consequences of poor practice

K7. any additional needs the individual may have which may affect performance or quality of Electrocardiograph

K8. the importance of ensuring immobility for electrocardiograph at rest

K9. the clinical conditions and reasons for referral for electrocardiograph examinations

K10. the effect of postural and respiratory changes on electrocardiograph results

K11. the structure and function of the heart

K12. the conduction system of the heart

K13. the normal electrocardiograph

K14. the type and common characteristics of recording devices used in electrocardiograph procedures and how to set up and test

K15. the relevant equipment quality assurance procedures

K16. the purpose of electrocardiograph procedures

K17. the correct positioning of electrodes for at rest and ambulatory electrocardiograph procedures and why this is important

K18. potential electrical interference and sources of artefact and how to recognise them

K19. how to check that the electrocardiograph trace is clear to enable accurate reading and analysis

K20. the importance of accurately recording the individual's signs/symptoms during ambulatory electrocardiograph procedures

K21. how to complete and safely store all relevant documentation in accordance with organisational requirements

Developed by

Skills for Health

Version Number

3

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHCHS130

Relevant Occupations

Health and Social Care, Health and Social Services Officers, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

Clinical Health Skills

Keywords

Perform, Electrocardiograph