| SFHCHS185 Perform basic specimen/sample preparation and store specimens and samples |  |
| --- | --- |

Overview

This standard is a broad based standard that looks at specimen and sample preparation prior to diagnostic investigations. It also deals with equipment failure/faults, loss of specimen, breaks, spillages and leakages.

It also looks at the storage of specimens and samples before or after preparation and either prior to or following diagnostic investigations have been completed.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and others in performing basic specimen/sample preparation and storing specimens and samples

P2. ensure infection prevention and control methods and personal protective equipment are used

P3. on receipt of sample/specimen, ensure unique identifier is attached to specimen/sample and its documentation and retained throughout specimen sample life

P4. ensure 'chain of custody' is maintained, where appropriate

P5. inspect and confirm specimen/sample is of suitable quality and in the correct container for preparation and analysis

P6. recognise and respond appropriately when specimen/sample integrity is compromised due to storage conditions failure

P7. determine the correct method of preparation for the type of specimen/sample and analysis requested

P8. confirm the equipment to be used is fit for purpose and practice

P9. ensure that the specimen/sample preparation is completed in accordance with workplace procedures

P10. manage workload effectively to make efficient use of resources and meet prioritisation needs

P11. identify specimens/samples with special storage or retention requirements and ensure that appropriate action is taken

P12. store the specimen/sample in accordance with organisational requirements

P13. monitor and record the conditions of the storage to meet quality and audit trail criteria

P14. dispose of waste in accordance with workplace procedures

P15. complete all relevant documentation required for performing basic specimen/sample preparation and storing specimens and samples

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to perform basic specimen/sample preparation

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. the importance of the unique identifier in sample preparation, storage and of maintaining link between specimens/samples and documentation

K5. the factors that may influence the quality of specimen/sample and their significance.

K6. the importance of collecting correct or minimum amount of sample/specimen.

K7. the importance of urgent specimens/samples

K8. the methods of preparation for different specimens/samples and how they apply

K9. the importance of ensuring that the equipment used is fit for purpose and practice

K10. how you can contribute to the efficiency and effectiveness of the service provided in relation to prioritisation of specimen/sample preparation and analysis

K11. recognition of types of specimens, primary and secondary samples and suitable containers

K12. the importance of selection of appropriate containers for different types of specimens/samples and safe and secure storage

K13. the correct condition and location for the storage of different types of specimens/samples and processing pathways

K14. factors affecting the condition of specimen/samples during storage

K15. action to be taken when specimen integrity is compromised due to systems failure

K16. how to dispose of waste in accordance with workplace procedures

K17. how to complete and safely store all relevant documentation in accordance with workplace requirements

Developed by

Skills for Health

Version Number

3

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHCHS185

Relevant Occupations

Health and Social Care, Health and Social Services Officers, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

Clinical Health Skills

Keywords

Specimen, sample