| SFHCHS192 Perform standard tests using an automated analyser |  |
| --- | --- |

Overview

This standard has broad application and is relevant to the use of all types of types of analysers. The analysers may be in a variety of clinical settings or may be providing Point of Care Testing.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and others in performing standard tests using an automated analyser

P2. ensure unique identifier is attached to specimen/sample

P3. ensure 'chain of custody' is maintained, where appropriate

P4. ensure the correct method of preparation for the type of specimen/sample and request has been used

P5. inspect and confirm specimen/sample is of suitable quality for testing

P6. implement the tests in accordance with organisational procedures

P7. confirm the equipment to be used is appropriate and has been calibrated as per the test protocols

P8. implement and monitor appropriate quality control methods to ensure accuracy and precision of results

P9. ensure that the specimen/sample testing is performed and fully completed in accordance with workplace requirements

P10. dispose of waste in accordance with workplace procedures

P11. complete all relevant documentation required for performing standard tests using an automated analyser

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to perform standard tests using an automated analyser

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. the hazards and risks which may arise during the execution of your work role and how you can minimise these

K5. the importance of maintaining link between specimens, samples and documentation

K6. the factors that may influence the quality of specimen/sample and their significance

K7. the importance of dealing appropriately with urgent samples

K8. methods of testing for different specimens/samples and circumstances and how and when to apply them

K9. the importance of ensuring that the equipment used is appropriate

K10. calibration methods and protocols for the equipment being used

K11. quality control methods suitable for standard tests

K12. the importance of recognising outlying results and what to do about them

K13. the importance of working effectively and meeting prioritisation needs

K14. how to dispose of waste in accordance with workplace procedures

K15. how to complete and safely store all relevant documentation in accordance with workplace requirements

Developed by

Skills for Health

Version Number

3

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHCHS192

Relevant Occupations

Health and Social Care, Health and Social Services Officers, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

Clinical Health Skills

Keywords

Tests, automated, analyser