| SFHCHS223 Fit healthcare equipment, device, product and/or system to meet clinical and individual needs |  |
| --- | --- |

Overview

This standard relates to working with individuals, relevant others and members of a multi-disciplinary team, as appropriate, to fit equipment, device, product and/or system to meet the clinical needs and those of the individual.

Fitting involves handing over and checking the fit of the equipment or device meets the needs of the individual or their circumstances in accordance with the manufacturer's instruction and the prescription. This may take place in a variety of clinical and non-clinical settings. The process may include a trial use of the equipment and/or device in the user environment.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and others in fitting healthcare equipment, device, product and/or system to meet clinical and individual needs

P2. establish consent and access information on fitting healthcare equipment, device, product and/or system to meet clinical and individual needs

P3. liaise and work with key stakeholders, individuals or agencies involved in the fitting process for the individual

P4. confirm the effective operation and safe working order of the equipment, device, product and/or system within expected performance parameters

P5. fit the equipment or attach the equipment, device, product and/or system and activate where necessary

P6. check operational safety and performance measurements

P7. confirm the suitability of fit and size of the equipment, device, product and/or system

P8. check the comfort and acceptance of the equipment, device, product and/or system and ensure it meets the individual’s needs and clinical requirements

P9. make adjustments in line with manufacturer's guidelines and within the prescribed specification or arrange for the adaptation to be undertaken by the appropriate person

P10. agree relevant trial period and technical details for individuals using new/adjusted equipment, device, product and/or system

P11. handover the equipment, device, product and/or system to the individual or relevant others and clearly explain their responsibilities and the mechanisms for detecting and reporting any system failure in line with legislation and organisational requirements

P12. confirm that individual and/or relevant others have all relevant documentation and inform them of the mechanisms for on-going maintenance management and review

P13. identify and record when equipment, device, product and/or system no longer required

P14. dispose of waste in accordance with organisational procedures

P15. complete all relevant documentation required for fitting healthcare equipment, device, product and/or system to meet clinical and individual needs

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to fit healthcare equipment, device, product and/or system to meet clinical and individual needs

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. how to adapt communication styles in ways which are appropriate to the needs of the individual

K5. the principles, practice and procedures associated with informed consent regarding the fitting of equipment, medical devices, products and/or systems

K6. the procedures and methods relating to the coordination of inter-disciplinary and multi-disciplinary teams within and across services

K7. how to liaise with key stakeholders and the individual for fitting equipment, medical devices, products and/or systems relevant to your work practice

K8. the relevant anatomy, physiology and associated specialist knowledge applicable to the fitting of prescribed equipment, medical device, product and/or associated systems within your area of practice

K9. the range, underpinning principles and applications of the equipment, medical devices, products and associated systems requiring fitting to the individual within your area of responsibility

K10. the acceptable range of measurements and limits of use for each type of equipment, device, product and the associated systems to ensure safety and fitness for use prior to fitting

K11. the importance of fitting equipment, medical devices, products and associated systems with the individual within the appropriate environment and how to evaluate the user environment when applicable, for the fitting process

K12. how to fit and make minor adjustments to ensure best fit and comfort for the equipment, medical devices, products and associated systems to meet individual needs and the prescription criteria

K13. the importance of handover procedures and of informing individuals and relevant others of their responsibilities for the equipment, devices, products and associated systems

K14. how to identify and record when equipment / device no longer required

K15. the wider clinical implications of changes made in alignment, fit and functionality

K16. how to dispose of waste in accordance with organisational procedures

K17. how to complete and safely store all relevant documentation in accordance with organisational requirements

Developed by

Skills for Health

Version Number

4

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHCHS223

Relevant Occupations

Health and Social Care, Health and Social Services Officers, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

Clinical Health Skills

Keywords

Fit, healthcare, equipment, medical, devices, system, clinical, needs