| SFHGEN77 Perform first line calibration on clinical equipment to ensure it is fit for use |  |
| --- | --- |

Overview

This standard relates to first line calibration of specific equipment prior to clinical use. Individuals will be able to calibrate equipment for use in their own healthcare context. Individuals can use the standard for each type of equipment within the scope of their normal work activity.

This is not intended for use following major repair or service.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and others in performing first line calibration on clinical equipment

P2. assess decontamination status

P3. run appropriate tests to confirm the operational status of equipment

P4. calibrate equipment for operation:

a. using appropriate reference materials

b. to within correct parameters for intended purpose

c. against appropriate approved standards

d. in line with required schedule

e. using appropriate test equipment

P5. verify accuracy, precision and operational effectiveness of equipment following organisational procedures

P6. correctly identify equipment that does not meet calibration standards and take appropriate action to prevent inadvertent use

P7. confirm that equipment is ready for intended use

P8. notify appropriate others of the status of equipment on completion of calibration

P9. dispose of waste in accordance with organisational procedures

P10. complete all relevant documentation required for performing first line calibration on clinical equipment

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to perform first line calibration on clinical equipment to ensure it is fit for use

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. the intended purpose of the clinical equipment

K5. the importance of both accuracy and precision within calibration

K6. the methods of first line calibration and quality assurance

K7. the infection control requirements and decontamination procedures as they apply to equipment and environments

K8. relevant reference materials

K9. the significance of keeping calibration documentation

K10. how to check for validity and reliability of tests conducted

K11. the common faults in equipment and relevant corrective action

K12. how to dispose of waste in accordance with organisational procedures

K13. how to complete and safely store all relevant documentation in accordance with organisational requirements and the types of tests to be carried out

Developed by

Skills for Health

Version Number

3

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHGEN77

Relevant Occupations

Health and Safety Officers, Health and Social Care, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

General Healthcare

Keywords

Calibration, clinical, equipment