| SFHGEN78 Conduct routine maintenance on clinical equipment |  |
| --- | --- |

Overview

This standard relates to the performance of routine preventative and/or first line corrective maintenance activities by the user for equipment within your own working context. It ensures that clinical equipment in use remains safe and fit for its intended purpose. You can use the standard for each type of equipment within the scope of your normal work activity.

Users of this standard will need to communicate effectively to meet individuals' needs and wishes and work in line with health and safety legislation, policy and practices.

Performance criteria

You must be able to:

P1. identify and agree the roles and responsibilities of yourself and others in conducting routine maintenance on clinical equipment

P2. prioritise action based on maintaining clinical services

P3. notify all issues affecting the required preventive and/or first line corrective maintenance and their impact on delivery of services to relevant others

P4. assess decontamination status and requirements of the equipment to be maintained

P5. run appropriate tests to assess operational status of equipment

P6. carry out maintenance activities:

a. in accordance with schedule and organisational requirements

b. using appropriate reference materials

c. to within correct parameters for intended purpose

d. using appropriate test equipment

P7. report any instances where the maintenance activities cannot be fully met or where there are identified defects outside the planned schedule

P8. check equipment is functioning against expected operational parameters to confirm operational status

P9. confirm that equipment is ready for intended use

P10. notify appropriate others of the status of equipment on completion of planned maintenance

P11. dispose of waste in accordance with organisational procedures

P12. complete all relevant documentation required for conducting routine maintenance on clinical equipment

Knowledge and understanding

You need to know and understand:

K1. how to access and interpret all relevant work instructions, legislation, guidelines, policies, procedures and protocols needed to conduct routine maintenance on clinical equipment

K2. the scope and limitations of your own competence, responsibilities and accountability as it applies to your job role

K3. specific procedures for reporting issues which are beyond your competence, responsibilities and accountability

K4. the correct use of any equipment and PPE to protect the health and safety of you and others

K5. the intended purpose of the clinical equipment

K6. the requirements for routine preventative and/or first line corrective maintenance for specified equipment, including frequency

K7. the peripherals required for the optimum functioning of the equipment

K8. the infection prevention and control requirements and decontamination procedures as they apply to equipment and environments

K9. the expected performance parameters, principles of operation, capabilities and limitations of specified equipment

K10. the technology used in the equipment being maintained

K11. the safety implications and correct procedures for handling the technology used

K12. the factors affecting decisions on maintenance activity including urgency, time, impact on services, other available equipment, risks

K13. the type and range of records required for maintenance of equipment and the types of tests carried out

K14. fault and error message diagnosis and appropriate actions

K15. how to dispose of waste in accordance with organisational procedures

K16. how to complete and safely store all relevant documentation in accordance with organisational requirements

Developed by

Skills for Health

Version Number

3

Date Approved

13 Feb 2026

Indicative Review Date

13 Feb 2031

Validity

Current

Status

Original

Originating Organisation

Skills for Health

Original URN

SFHGEN78

Relevant Occupations

Health and Safety Officers, Health and Social Care, Health Associate Professionals, Health Professionals, Health, Public Services and Care, Healthcare and Related Personal Services

Suite

General Healthcare

Keywords

Conduct, routine, maintenance, clinical, equipment