| LANRVN14 Conduct diagnostic imaging on veterinary patients and produce the results |  |
| --- | --- |

Overview

This standard is about conducting diagnostic imaging on veterinary patients and producing the results.  This will include confirming the veterinary patients' condition and identifying which diagnostic test is required, identifying the areas to be imaged, processing the diagnostic image correctly and recording results in accordance with the veterinary practice procedures.

This standard is suitable for registered veterinary nurses.

Performance criteria

You must be able to:

- confirm the veterinary patient's condition and the diagnostic imaging technique required

- assess the risks to the health and safety of yourself and colleagues when conducting diagnostic imaging on veterinary patients

- select and implement the required veterinary practice infection control procedures relevant to the area of the veterinary practice you are working in

- select and wear the required clothing and personal protective equipment (PPE) and confirm that those involved in diagnostic testing comply

- position and restrain the veterinary patient using suitable restraining equipment and methods

- identify the areas to be imaged and conduct the diagnostic imaging according to the requirements of the veterinary surgeon and the veterinary patient's condition

- monitor the veterinary patient to detect difficulties while carrying out the diagnostic imaging

- keep the veterinary patient relaxed and minimise physical discomfort in the clinical environment

- end the diagnostic imaging session according to veterinary practice procedures

- complete records according to relevant legal and veterinary practice requirements

- process the diagnostic image

- produce diagnostic images of the quality required by the veterinary practice

- check the quality of the diagnostic image and ensure that the results are recorded against the identified veterinary patient according to the veterinary practice procedures

- identify any invalid diagnostic imaging results and ensure remedial action is taken

- comply with relevant animal health and welfare legislation and codes of practice

- carry out your work in accordance with the relevant environmental and health and safety legislations, risk assessment requirements, codes of practice and business policies

Knowledge and understanding

You need to know and understand:

- why it is important to confirm what area of the veterinary patient is being investigated and what imaging technique is required

- how to assess the risks to the health and safety of yourself and colleagues when conducting diagnostic imaging on veterinary patients

- the required veterinary practice infection control procedures relevant to the area of the veterinary practice you are working in

- the types of required clothing and personal protective equipment (PPE) for conducting diagnostic imaging on veterinary patients

- how to position and restrain different types of veterinary patients

- how to ensure that the correct diagnostic techniques are being applied

- how to carry out different types of diagnostic imaging

- the importance of monitoring veterinary patients during diagnostic imaging and when to alert members of the veterinary team of any concerns

- how to keep the veterinary patient relaxed and minimise physical discomfort in clinical environments

- the importance of positioning, anatomical directions, collimation, centring and labelling when undertaking diagnostic imaging on veterinary patients

- what adjustments to environmental conditions are needed for different types of veterinary patients

- how to produce the recorded image to the required veterinary practice diagnostic quality

- the documentation that has to be completed at the end of the diagnostic imaging session

- the veterinary practice procedures for analysing and recording results

- why it is important to match results to the correct veterinary patient

- the methods for preventing contamination when producing results

- the indications of invalid results and faults that occur and the remedial actions to take

- your responsibilities for the health and welfare of animals under the relevant legislation and codes of practice.

- your professional responsibilities as a registered veterinary nurse

- your responsibility under the relevant environmental and health and safety legislations, codes of practice and business policies

Scope/range related to performance criteria

​

Developed by

Lantra

Version Number

2

Date Approved

28 Feb 2019

Indicative Review Date

28 Feb 2024

Validity

Current

Status

Original

Originating Organisation

Lantra

Original URN

LANRVN20

Relevant Occupations

Veterinary Nurse

Suite

Veterinary nursing and auxiliary services

Keywords

diagnostic imaging, radiography