| SFHCI.D Produce computed tomography (ct) scanning images for diagnostic purposes |  |
| --- | --- |

Overview

This standard is concerned with the use of computed tomography (CT) equipment and procedures to produce images for diagnostic purposes. It includes selecting the most appropriate scan protocol depending on the individual's condition and clinical history. Key people are those involved in the individual's care and others involved in provision of services. Users of this standard will need to ensure that practice reflects

Performance criteria

You must be able to:

- apply standard precautions for infection control and other appropriate

- health and safety measures

  - ensure all necessary preparations have been made by the individual

- and staff before starting the procedure

  - check and prepare the equipment required for the examination

  - ensure the environment is conducive to maintaining the privacy and

- dignity of the individual

  - check the identification details before commencing the procedure in

- accordance with local policies and procedures

  - introduce yourself and other members of staff present during the

- examination

  - communicate with the individual / key people to facilitate their

- understanding of and co-operation with the examination

  - establish the individuals capacity to understand the procedure with

- the help of key people if necessary

  - obtain valid consent for the procedure in accordance with national

- and local guidelines

  - respect the individuals privacy, dignity, beliefs and decisions

  - clearly explain the procedure and possible outcomes, including risk,

- benefits and limitations

  - check individuals of child-bearing potential for pregnancy or

- possible pregnancy, if appropriate to the examination, and take action

- in accordance with local protocols

  - confirm the status of key people before the examination and, where

- their presence is required, adhering to local guidelines

  - enter the identification details of the individual into the CT scanner

- or, if previously entered, check for accuracy

  - accurately select all parameters required for the scan according to

- local scan protocols for the procedure, assess any required

- modifications and take appropriate action

  - position the individual and adjust their clothing according to the

- protocols for the examination to be performed in a manner which allows

- an optimal outcome to be achieved while:

- 16.1 recognising the individuals need to retain their dignity and self

- respect

- 16.2 ensuring their comfort as far as possible

- 16.3 preventing the appearance of artefacts

  - check the room prior to making the exposure to ensure that only

- essential, protected persons remain with the individual, that all local

- protocols have been adhered to and take appropriate action if this does

- not occur

  - commence the scan and monitor the individuals condition,

- compliance and well-being throughout the procedure and take action

- appropriate to their needs

  - view the images on completion of the scan to ensure they are

- technically acceptable and suitable for diagnostic purposes

  - create multi-planar reformats (MPR) from the relevant datasets as

- appropriate

  - review images for clinical acceptability, take appropriate action,

- including further imaging if required

  - monitor and record the individuals exposure to ionising radiation

- throughout the procedure according to local protocols

  - following the preliminary imaging examination, inform the

- appropriate person if an abnormality is observed on the image which is

- likely to require further investigation or treatment

  - provide the individual with information relating to the procedure and

- aftercare where necessary

  - explain the process for obtaining results

  - optimise, record, collate and prepare appropriate information,

- documentation and images for transfer or storage according to local

- protocols

  - verify that the images have arrived/been stored according to local

- protocols

  - recognise where help or advice is required and obtain this from

- appropriate sources

Knowledge and understanding

You need to know and understand:

- legal, organisational and policy requirements relevant to your role,

- the role of others in your organisation and the activities being

- carried out

  - the relevant national and local standards, guidelines, policies and

- procedures that are available and how and when they should be

- accessed

  - the importance of respecting individuals culture, privacy, dignity,

- wishes, beliefs and decisions

  - the limitations of your own knowledge and experience and the

- importance of operating within your scope of practice

  - the roles and responsibilities of other team members

  - the importance of obtaining valid consent in line with national and

- local guidelines

  - clinical appropriateness of the examination request and the action

- to take when the request is not appropriate

  - the gross surface and cross-sectional anatomy of the areas to be

- scanned

  - the relevant physiology of the areas to be scanned

  - the common normal variants and their appearance on CT images

  - common pathologies of the areas to be scanned and their

- appearance on CT images

  - the medical terminology relevant to the examination including

- abbreviations

  - contra-indications to CT scanning including the clinical

- implications of any allergy relevant to the examination

  - manifestations of individuals physical and emotional status

  - when additional images are required to aid diagnosis and to

- enhance the examination and the process for justification

  - production, interactions and properties of x-rays

  - the physical processes involved in the production of CT images,

- optimisation, scanning techniques and protocols

  - the harmful effects of radiation to the human body and use of

- radiation protection equipment

  - the ways in which CT images can be captured, processed and

- permanently stored

  - how to adapt communication styles, ask questions, and listen

- carefully in ways which are appropriate for the needs of the

- individual

  - methods of communicating difficult and complex information to

- individuals and key people

  - the importance of providing individuals and key people with

- opportunities to ask questions and increase their understanding

  - the information that should be given to individuals before, during

- and on completion of the examination

  - the physical principles of CT scanning

  - alternative imaging examinations that may be employed alongside

- CT scanning

  - the technical and diagnostic quality requirements of the image

  - artefacts on images - their causes and avoidance strategies

  - factors which influence the decision to repeat images or take

- additional CT images

  - the operation, safe use and positioning of equipment that

- supports, works or links with the CT scan protocol

  - the use of quality assurance equipment, recording results and

- taking appropriate action

  - equipment capabilities, limitations and routine maintenance

- including the quality control processes required by the operator

  - the importance of timely equipment fault recognition and local

- procedures for reporting these

  - preparation of the environment, individual and equipment for CT

- Scanning

  - positioning of the individual and equipment relevant to

- examination being performed

  - procedures relating to recording, collating and preparing

- appropriate information, documentation and images for transfer or

- storage according to local protocols

  - how to keep full, accurate and clear records in line with

- organisational procedures

External Links

This standard links with the following dimension within the NHS

Knowledge and Skills Framework (October 2004):

Dimension: HWB6 Assessment and treatment planning

Developed by

Skills for Health

Version Number

2

Date Approved

01 Feb 2019

Indicative Review Date

01 Feb 2024

Validity

Current

Status

Original

Originating Organisation

Skills for health

Original URN

sfhci.d

Relevant Occupations

Health Professionals

Suite

Clinical Imaging

Keywords

Radiography; Ct; Diagnostic; Clinical; Images