| SFHCI.M Produce dual-energy x-ray absorptiometry (dxa) scans for diagnostic purposes |  |
| --- | --- |

Overview

SFHCI.M SFHCI.M This standard is concerned with the use of dual-energy X-ray absorptiometry (DXA) to produce scans that will be used for bone mass and body composition measurements and image analysis for the diagnosis of osteoporosis and sarcopenia. Production of DXA scans should be undertaken within the scope of your own role and practice. Key people are those involved in the individual's care and others involved in provision of services. Users of this standard will need to

Performance criteria

You must be able to:

SFHCI.M

SFHCI.M

- apply standard precautions for infection control and other appropriate

- health and safety measures

- ensure all necessary preparations have been made by the individual

- and staff before starting the procedure

- check and prepare the equipment required for the examination

- ensure the environment is conducive to maintaining the privacy and

- dignity of the individual

- check the identification details before commencing the procedure in

- accordance with national standards

- introduce yourself and other members of staff present during the

- examination

- communicate with the individual / key people to facilitate their

- understanding of and co-operation with the examination

- establish the individuals capacity to understand the procedure with

- the help of key people if necessary

- obtain valid consent for the procedure in accordance with national

- and local guidelines

- respect the individuals privacy, dignity, beliefs and decisions

- clearly explain the procedure and possible outcomes, including risk,

- benefits and limitations

- check individuals of child-bearing potential for pregnancy or

- possible pregnancy, if appropriate to the examination, and take action

- in accordance with local protocols

- confirm the status of key people before the examination and, where

- their presence is required, adhering to local guidelines

- position the individual and adjust their clothing where required

- according to the protocols for the examination which allows an optimal

- outcome to be achieved while:

- 14.1 recognising the individuals need to retain their dignity and selfrespect

- 14.2 ensuring their comfort as far as possible

- 14.3 preventing the appearance of artefacts

- seek confirmation that the individual is ready before the exposure is

- made

- maintain communication with the individual /key people to facilitate

- their understanding and co-operation throughout the examination

- observe the individuals condition and well-being at all times and

- take appropriate action

- consider the technical aspects of the scanner set up in relation to

- the anatomical areas to be scanned

- SFHCI.M

- ensure the correct technical parameters have been chosen and

- assess the correct area ready for analysis

- on post processing of the scan, ensure all quality standards are

- correct, including anatomical sites and demographics

- following the preliminary clinical examination, inform the appropriate

- person if an abnormality is observed on the image which is likely to

- require further investigation or treatment

- explain the process for obtaining results

- record, collate and prepare appropriate documentation, images and

- scan analysis for transfer or storage according to local protocols

- verify that the images and scan data have arrived/been stored

- according to local protocols

- recognise where help or advice is required and obtain this from

- appropriate sources

- SFHCI.M

Knowledge and understanding

You need to know and understand:

SFHCI.M

SFHCI.M

- legal, organisational and policy requirements relevant to your role,

- the role of others in your organisation and the activities being

- carried out

- the relevant national and local standards, guidelines, policies and

- procedures that are available and how and when they should be

- accessed

- the importance of respecting individuals culture, privacy, dignity,

- wishes, beliefs and decisions

- the limitations of your own knowledge and experience and the

- importance of operating within your scope of practice

- the roles and responsibilities of other team members

- the importance of obtaining valid consent in line with national and

- local guidelines

- clinical appropriateness of the examination request and the action

- to take when the request is not appropriate

- the gross anatomy of the area being scanned

- physiological and pathological processes relevant to the area

- being scanned

- anatomical landmarks on the body that are relevant to DXA

- imaging

- the relevant joints in the body of the area being scanned and their

- movements

- the common relevant pathologies and normal variants of the area

- being scanned

- medical terminology relevant to the examination including

- abbreviations

- positioning terminology including abbreviations

- manifestations of individuals physical and emotional status

- production, interactions and properties of DXA images

- the process involved in the formation of DXA images

- the harmful effects of radiation to the human body and use of

- radiation protection equipment

- ways in which images can be captured, processed and

- permanently stored

- equipment capabilities and the differences in manufacturers

- specifications which will affect follow up scans and comparability

- the limitations and routine daily quality assurance processes

- SFHCI.M

- required by the operator

- how to adapt communication styles, ask questions, and listen

- carefully in ways which are appropriate for the needs of the

- individual

- the importance of providing individuals and key people with

- opportunities to ask questions and increase their understanding

- the information that should be given to individuals before, during

- and on completion of the examination

- considerations for the individuals size, body habitus and scan

- modes for image optimisation, which will affect analysis of the

- bone mineral density values

- variables affecting the bone mineral density measurement and

- how to select appropriate scan modes for the examination and the

- individual as appropriate

- accurate positioning of the individual relevant to the area of

- interest

- the technical quality requirements of the image for precise and

- reliable bone mineral density measurements

- the recognition of artefacts, their impact and appropriate actions

- to mitigate or limit the effects

- factors which influence the decision to rescan or take

- supplementary images in a different scan mode or with adjusted

- positioning to aid diagnosis

- the requirements for accurate scan analysis

- the use of reference data and the impact of the reference

- database selected on the scan results

- the principal of least significant change in relation to follow up

- scan interval and subsequent statistically significant change in

- bone mineral density

- the importance of timely equipment fault recognition and local

- procedures for reporting these

- procedures relating to recording, collating and preparing

- appropriate documentation, images and scan analysis for transfer

- or storage according to local protocols

- how to keep full, accurate and clear records in line with

- organisational procedures

- SFHCI.M

External Links

SFHCI.M

This standard links with the following dimension within the NHS

Knowledge and Skills Framework (October 2004):

Dimension: HWB6 Assessment and Treatment Planning

SFHCI.M

Developed by

Skills for Health

Version Number

1

Date Approved

01 Feb 2019

Indicative Review Date

01 Feb 2024

Validity

Current

Status

Original

Originating Organisation

Skills for health

Original URN

sfhci.m

Relevant Occupations

Health Professionals

Suite

Clinical Imaging

Keywords

Radiography; Dexa; Diagnostic; Clinical; Images; Bone; Density; Osteoporosis; Osteopenia; Sarcopenia