| sfhm11 Obtain radiographic images of breast specimens |  |
| --- | --- |

Overview

This standard is about obtaining radiographic images of breast specimens. Breast specimens may be from a diagnostic investigation or those from an operative procedure. Users of this standard will need

Performance criteria

You must be able to:

- apply standard precautions for infection control and other

- appropriate health and safety measures

  - ensure that the radiographic equipment is safe and ready for use

  - check the specimen identification details and use the information

- to identify the appropriate images required for the imaging

- procedure in consultation with relevant professionals and

- following local protocols

  - select and use accessory mammography equipment to aid

- positioning appropriate specimen images

  - handle the specimen safely and according to the locally agreed

- procedures

  - orientate the specimen according to local protocols

  - make sure the images are checked for diagnostic quality and a

- decision made to repeat the imaging where necessary

  - label images correctly and permanently before image processing

- or storage

  - follow the appropriate reporting procedure

  - clean the equipment after use applying standard precautions

- according to local protocols

  - record information regarding the specimen according to local

- protocols

  - take the necessary actions to make sure the specimen is safely

- transported according to local protocols

  - ensure contaminated areas are dealt with according to standard

- precautions for infection prevention and control

Knowledge and understanding

You need to know and understand:

- legal, organisational and policy requirements relevant to your role,

- the role of others in your organisation and the activities being

- carried out

  - the relevant national and local standards, guidelines, policies and

- procedures that are available and how and when they should be

- accessed

  - the limitations of your own knowledge and experience and the

- importance of operating within your scope of practice

  - the roles and responsibilities of other team members

  - the purpose of the breast diagnostic and screening services

  - the quality assurance programmes in symptomatic, assessment

- and breast screening services

  - procedures for the safe handling of specimens and body tissues

  - the different types of container and transport media in common

- use and their suitability for each type of specimen

  - the different types of markers used to orientate specimens

  - the functions, specifications and performance characteristics of

- radiographic equipment used to image specimens

  - the functions, specifications and performance characteristics of

- the local image handling devices

  - where and how to access previous records and images and how

- to add further information

  - the features of mammographic equipment and the imaging

- process

  - the importance of reporting faults and malfunctions promptly and

- the correct procedures for reporting these

  - the types of legends available in the unit and on the equipment

- and an understanding of the importance of complying with the

- local protocols for their use

  - the importance of maintaining clean radiographic equipment and

- following local protocols for infection control

  - the local procedures for checking radiographic equipment and

- image handling devices and an understanding of the importance

- of undertaking these on a regular basis and taking appropriate

- action where necessary

  - basic radiation physics and x-ray imaging

  - the causes of artefacts on images and the importance of avoiding

- them

  - the factors which influence the exposure setting

  - the result reporting procedures and the importance of giving

- timely and accurate information to the referrer

  - the radiographic standards for the production of the optimum

- diagnostic image

  - the importance of accurate labelling according to local protocols

  - the correct display of images and the environmental conditions

- required

  - the potential consequences of contamination of the clinical

- specimen

  - specimen identification and traceability

  - the anatomy, physiology and pathology of the breast, axilla,

- subcutaneous tissues and associated structures

  - the pathophysiology of breast disease

  - the importance of effective communication within the multidisciplinary team and with individuals

  - the information which should be recorded in relation to clinical

- specimens

  - the importance of immediately reporting any issues which are

- outside your own scope of competence without delay to the

- relevant member of staff

  - procedures relating to recording, collating and preparing

- appropriate information, documentation and images for transfer or

- storage according to local protocols

  - how to keep full, accurate and clear records in line with

- organisational procedures

External Links

This standard links with the following dimension within the NHS

Knowledge and Skills Framework (October 2004):

Dimension: HWB8 Biomedical investigation and intervention

Developed by

Skills for Health

Version Number

2

Date Approved

01 Feb 2019

Indicative Review Date

01 Feb 2024

Validity

Current

Status

Original

Originating Organisation

Skills for health

Original URN

sfhm11

Relevant Occupations

Health Professionals

Suite

Breast Screening and Assessment

Keywords

Radiography; Mammography; Mammogram; Clinical; Imaging; Sample; Investigation